Experimental Protocol

# Multimodal sensing of white rust (Albugo candida) in mustard: glasshouse pot experiment

MuDAS-AI · ICAR-IARI · Version 1.0 (draft for supervisor review)

Purpose of this document. A step-by-step protocol for collecting RGB, multispectral, hyperspectral, thermal and chlorophyll-fluorescence data from inoculated and mock-inoculated mustard plants under glasshouse conditions, together with the reference measurements and data organisation needed for the existing analysis pipeline (Phases 1–3). Items marked [confirm] must be agreed with the plant pathology co-supervisor or ICAR-DRMR guidelines before the experiment starts.

# 1. Aims

- Early detection: identify the first day after inoculation (dpi) at which each sensor separates inoculated from mock-inoculated plants, before visible symptoms (Mahlein et al., 2019; Terentev et al., 2023).

- White rust signature: describe the spectral and thermal response at leaf and plant level, on the upper and lower (abaxial) leaf surface, where pustules develop.

- Physiological explanation: relate sensor features to chlorophyll content, photosystem II efficiency (Fv/Fm) and transpiration.

- Disease-specific features and sensor combinations: apply Phase 1 (feature screening), Phase 2 (single-sensor ML-SFFS models) and Phase 3 (feature-level fusion).

- Scale bridge: compare glasshouse-selected features with UAV-selected features, and simulate MicaSense and Sentinel-2 bands from glasshouse hyperspectral data.

# 2. Experimental design

## 2.1 Treatments

| Factor | Levels | Purpose |
| --- | --- | --- |
| Genotype | S = susceptible B. juncea variety; R = resistant / tolerant variety [confirm varieties] | Separate the disease signal from genotype differences |
| Inoculation | M = mock (sterile water, identical handling); I = inoculated with A. candida | Healthy reference on every measurement day |
| Inoculum dose (optional) | Low / medium / high sporangial concentration | Creates a severity gradient for regression and severity classes |
| Time | 0, 1, 2, 3, 4, 5, 6, 7, 8, 10, 12, 14, 21 dpi | Follows latent → symptomatic → severe stages |

## 2.2 Replication and layout

- Pots: 15–20 cm diameter, one plant per pot for imaging (three-plant pots are possible, with one tagged plant imaged).

- Imaging pots: 10 per genotype × inoculation combination = 40 pots per run (non-destructive, followed every day).

- Destructive pots: additional pots for pigments, microscopy and PCR, e.g. 3 pots per combination per sampling day [confirm sampling days].

- Design: randomised complete block design (RCBD) with 5 benches (blocks) of 8 pots; each block holds 2 pots of each combination (layout in Appendix A).

- Independent repetition: run the whole experiment twice, at least two weeks apart, with a fresh inoculum batch. This allows training on run 1 and testing on run 2, and the reverse (Terentev et al., 2023).

- Tagging: label every pot (P01–P40) and tag two leaves per plant (e.g. leaves 3 and 4 from the base) with a coloured thread. The same leaves are measured every day.

## 2.3 Growth conditions

- Day / night temperature about 20 / 15 °C; relative humidity 60–70 %; photoperiod 12–14 h [confirm with glasshouse facility].

- Same potting mix, irrigation and fertiliser for all pots; no fungicide.

- A temperature / RH data logger at plant height, recording every 5–10 min for the whole experiment.

- Rotate pot positions within each block after each measurement day, or keep the layout fixed and record bench effects; state which in the methods.

# 3. Inoculation protocol

General practice for white rust of crucifers; adjust dose, timing and incubation to the lab's standard procedure [confirm] (Saharan et al., 2014; ICAR-DRMR guidelines).

- Plant stage: inoculate at the 3–4 true-leaf stage (record the date as 0 dpi).

- Inoculum: collect fresh sporangia from infected mustard leaves (field isolate or maintained culture); record source and date.

- Zoospore release: suspend sporangia in sterile distilled water and keep at about 10–15 °C for a few hours.

- Concentration: count with a haemocytometer and adjust (commonly in the order of 10⁴–10⁵ sporangia per mL) [confirm]. Record the exact value for each run.

- Application: apply the suspension to both leaf surfaces of the tagged leaves (drop inoculation or fine atomiser). Mock plants receive sterile water applied in the same way.

- Incubation: keep inoculated and mock plants at near-saturated humidity, in darkness, at about 15–20 °C for 24–48 h (humid chamber or polythene cover).

- Return plants to the benches in the randomised layout. Record the first day of visible symptoms on each plant.

# 4. Sensors and data capture

## 4.1 Sensor overview

| Sensor | Example instrument | Set-up | Main outputs |
| --- | --- | --- | --- |
| RGB | DSLR / mirrorless or phenotyping camera | Nadir + side view; fixed distance; colour checker in every image | Colour indices, texture, % pustule area |
| Multispectral | Same MicaSense camera as the UAV | Tripod / gantry, nadir, about 1–1.5 m; reflectance panel; band co-registration | Same indices as the UAV (NDVI, NDRE, CIre…) |
| Hyperspectral imaging | Push-broom (e.g. Specim FX10 on linear stage) or snapshot (e.g. Cubert, Specim IQ) | Dark box, halogen lamps, white and dark reference | Pixel spectra 400–1000 nm; indices, derivatives, SPA bands |
| Thermal | Radiometric FLIR camera | Nadir; equilibrated plants; wet and dry references | Leaf T, ΔT, MTD, CWSI |
| Chlorophyll fluorescence imaging | PAM imager (e.g. FluorCam, Imaging-PAM) | 20–30 min dark adaptation; saturating pulse | Fv/Fm, ΦPSII, NPQ |
| Leaf spectroradiometer (optional) | ASD FieldSpec with leaf clip | Upper and lower surface; 3–5 spots per leaf | High-quality leaf spectra |

## 4.2 Fixed measurement order on every imaging day

Use the same order and the same time window (e.g. 09:00–12:00) every day, because handling and lamps change leaf temperature and stomatal behaviour.

- Thermal (plants undisturbed, before any lamps or handling).

- RGB (with colour checker).

- Multispectral (with reflectance panel).

- Hyperspectral: whole plant top view, then tagged leaves (upper and lower surface).

- Leaf spectroradiometer, SPAD / Dualex on tagged leaves.

- Dark adaptation 20–30 min, then chlorophyll fluorescence imaging.

- Visual disease scoring (both leaf surfaces).

- Destructive sampling (separate destructive pots only).

## 4.3 Sensor-specific procedures

### Thermal imaging

- Move plants to the imaging position at least 30 min before imaging; avoid drafts, direct sun and lamps (Jones, 2004).

- Set emissivity 0.95–0.98; record air temperature and RH at the time of each image.

- Include reference surfaces in the field of view: a wet reference (wet filter paper or a leaf sprayed with water) and a dry reference (a leaf coated with petroleum jelly), for CWSI (Leinonen & Jones, 2004).

- Features: mean leaf temperature; ΔT = T_air − T_leaf; MTD = maximum − minimum temperature within a leaf (Oerke et al., 2006; Mahlein et al., 2019); standard deviation and percentiles.

### RGB imaging

- Fixed height, manual exposure and white balance; colour checker in every frame.

- Tagged leaves are also imaged flat on a matt background, upper and lower surface.

- Features: chromatic coordinates (r, g, b), ExG, VARI, GLI, GLCM texture, and % pustule area from segmentation of white pustules (objective severity measure).

### Multispectral imaging (MicaSense)

- Nadir at about 1–1.5 m; photograph the reflectance panel at the start and end of each session; keep illumination constant.

- At close range the five lenses are offset (parallax): co-register the bands before computing indices.

- Compute the same indices as the UAV pipeline, so glasshouse and field features can be compared directly.

### Hyperspectral imaging

- Dark imaging box with halogen lamps (continuous VNIR spectrum) at about 45° from two sides; warm up the lamps for 15–20 min (Thomas et al., 2018).

- White reference (≥ 95 % reflectance panel) and dark reference (lens cap) at the start of each session and every 20–30 min. Reflectance R = (raw − dark) / (white − dark).

- Keep camera distance, focus, integration time and spectral binning identical on all days.

- Image the whole plant (top view) and the tagged leaves laid flat, upper and lower surface.

- Processing: remove noisy edge bands, Savitzky–Golay smoothing, leaf mask (NDVI threshold), SNV for geometry effects. At this resolution pustules are visible, so pixels can be annotated (healthy, chlorotic, pustule) for pixel-level models (Bohnenkamp et al., 2019; Behmann et al., 2018).

### Chlorophyll fluorescence imaging

- Dark-adapt plants or leaves for 20–30 min; measure F0 and Fm with a saturating pulse → Fv/Fm (Maxwell & Johnson, 2000).

- Light-adapted protocol (actinic light) → ΦPSII (Y(II)), NPQ, qP.

- Features: leaf means and % leaf area with Fv/Fm below 0.75 (early stress patches) (Rousseau et al., 2013).

### Leaf spectroradiometer (optional)

- Leaf clip with internal light source; 3–5 spots per leaf on both surfaces, avoiding the midrib; white reference every 10 readings (Tian et al., 2021; Zhang et al., 2012).

# 5. Reference (ground-truth) measurements

| Measurement | When | How | Purpose |
| --- | --- | --- | --- |
| Visual disease severity | Every imaging day | % symptomatic leaf area on both surfaces per tagged leaf; plant grade on the 0–5 scale (Appendix D) | Model labels |
| Disease index (DI) | Every imaging day | DI = Σ(grade × number of leaves) / (total leaves × maximum grade) × 100 (McKinney, 1923) | Same index as the field |
| Image-based pustule % | Every imaging day | Segmentation of RGB / hyperspectral leaf images | Objective cross-check of visual scores |
| Chlorophyll (non-destructive) | Every imaging day | SPAD-502 or Dualex (chlorophyll, flavonols, anthocyanins) | Explain spectral changes |
| Pigments (destructive) | Selected days | Acetone or ethanol extraction → Chl a, Chl b, carotenoids (Lichtenthaler & Buschmann, 2001) | Validate pigment indices (PSSR, CARI, MCARI) |
| Gas exchange (optional) | Selected days | Portable photosynthesis system: Pn, gs, E | Explain the thermal response |
| Relative water content | Selected days | Fresh, turgid and dry weight | Water-related indices (WI, NDWI) |
| Latent infection check | 1–6 dpi | Microscopy of stained leaf discs, or PCR / qPCR for A. candida [confirm assay] | Prove infection before symptoms |
| Environment | Continuous | Data logger: air T, RH, light | Thermal normalisation and reproducibility |

# 6. Measurement schedule

| Day (dpi) | Imaging (all sensors) | Visual score / DI | SPAD / Dualex | Destructive sampling | Latent-infection check |
| --- | --- | --- | --- | --- | --- |
| −1 (baseline) | ✔ | ✔ | ✔ | ✔ | — |
| 0 (inoculation) | ✔ (before inoculation) | — | ✔ | — | — |
| 1, 2, 3 | ✔ | ✔ | ✔ | Day 2 | ✔ |
| 4, 5, 6 | ✔ | ✔ | ✔ | Day 5 | ✔ |
| 7, 8 | ✔ | ✔ | ✔ | — | — |
| 10 | ✔ | ✔ | ✔ | ✔ | — |
| 12, 14 | ✔ | ✔ | ✔ | Day 14 | — |
| 21 (final) | ✔ | ✔ | ✔ | ✔ | — |

Destructive days are suggestions; choose them so that the latent, first-symptom and severe stages are each sampled at least once [confirm].

# 7. Data organisation

## 7.1 File naming

run{1|2}/dpi{NN}/{sensor}/{genotype}_{treatment}_{pot}_{leaf}_{side}.{ext}

Example: run1/dpi05/HS/S_I_P07_L3_abaxial.hdr

## 7.2 Feature table (one row per plant or tagged leaf per day)

| Column group | Columns |
| --- | --- |
| Identifiers | run, pot_id, block, genotype, treatment, dose, dpi, leaf, side, date, time |
| Labels | DI, severity class (0–5), pustule %, first-symptom day |
| Physiology | SPAD, Dualex Chl / Flav / Anth, Fv/Fm, ΦPSII, NPQ, pigments, RWC, Pn, gs |
| Sensor features | RGB_*, MS_*, HS_*, TIR_*, CF_* (same prefixes as the UAV pipeline) |
| Environment | T_air, RH at imaging time |

- Sample unit: plant × day (plant models) or leaf × day (leaf models).

- Group for cross-validation: pot (all days of a pot are correlated); run for the cross-run test.

- Back up raw data daily to two locations; keep a session metadata sheet (Appendix C) for every day.

# 8. Analysis plan

| Step | Method | Output |
| --- | --- | --- |
| Early-detection test | Inoculated vs mock within genotype and day: Mann–Whitney or Welch t-test with FDR; mixed model feature ~ treatment × dpi + (1 ¦ pot) | Earliest dpi detected by each feature and sensor |
| Phase 1: disease-specific features | Kruskal–Wallis + FDR, JM distance, ReliefF, Boruta, stability | Disease-specific feature list per sensor |
| Phase 2: single-sensor models | VIF / SPA → ML-SFFS → RF, SVM, KNN; binary (per dpi) and severity classes | Best features and model per sensor |
| Phase 3: fusion | Concatenate selected features → VIF → SFFS → models; 15 combinations of RGB, MS, HS, TIR (+ fluorescence as a lab-only modality) | Best sensor combination and earliest fused detection |
| Validation | Nested CV grouped by pot; cross-run test (train run 1 → test run 2, and reverse) | Unbiased accuracy, transfer between runs |
| Pixel level (optional) | Annotated hyperspectral / RGB pixels → pixel classifier or U-Net | Pustule and chlorosis maps |
| Scale bridge | Resample hyperspectral to MicaSense and Sentinel-2 bands; compare glasshouse and UAV feature sets | Transferability across scales |

# 9. Pre-experiment checklist

- Varieties, inoculum dose and incubation conditions confirmed with the co-supervisor.

- Calibration targets ready: reflectance panels, colour checker, white and dark references, thermal wet / dry references.

- Imaging distances marked; camera settings written down and fixed.

- Measurement order and daily time window agreed by all operators.

- Mock plants handled exactly like inoculated plants (same humid chamber).

- Pots labelled P01–P40; tagged leaves marked; layout (Appendix A) placed on benches.

- Data logger installed and recording.

- Daily data sheets (Appendix B) and session sheets (Appendix C) printed.

- Storage for raw data with daily backup (two copies).

- Dates for the second independent run reserved.

# 10. Limitations to report

- Controlled light and geometry give higher accuracy than in the field; test transfer to UAV data before generalising.

- Chlorophyll fluorescence imaging needs dark adaptation and active light, so it cannot be used from a UAV; use it to explain physiology, with PRI as the field proxy.

- Young potted plants differ from field canopies (no flowering, less leaf overlap); features may change at canopy scale.

# References

Behmann, J., et al. (2018). Specim IQ: evaluation of a new, miniaturized handheld hyperspectral camera and its application for plant phenotyping and disease detection. Sensors, 18(2), 441. https://doi.org/10.3390/s18020441

Bohnenkamp, D., Behmann, J., & Mahlein, A.-K. (2019). In-field detection of yellow rust in wheat on the ground canopy and UAV scale. Remote Sensing, 11(21), 2495. https://doi.org/10.3390/rs11212495

Jones, H. G. (2004). Application of thermal imaging and infrared sensing in plant physiology and ecophysiology. Advances in Botanical Research, 41, 107–163. https://doi.org/10.1016/S0065-2296(04)41003-9

Leinonen, I., & Jones, H. G. (2004). Combining thermal and visible imagery for estimating canopy temperature and identifying plant stress. Journal of Experimental Botany, 55(401), 1423–1431. https://doi.org/10.1093/jxb/erh146

Lichtenthaler, H. K., & Buschmann, C. (2001). Chlorophylls and carotenoids: measurement and characterization by UV-VIS spectroscopy. Current Protocols in Food Analytical Chemistry, F4.3.1–F4.3.8. https://doi.org/10.1002/0471142913.faf0403s01

Mahlein, A.-K. (2016). Plant disease detection by imaging sensors – parallels and specific demands for precision agriculture and plant phenotyping. Plant Disease, 100(2), 241–251. https://doi.org/10.1094/PDIS-03-15-0340-FE

Mahlein, A.-K., Alisaac, E., Al Masri, A., Behmann, J., Dehne, H.-W., & Oerke, E.-C. (2019). Comparison and combination of thermal, fluorescence, and hyperspectral imaging for monitoring Fusarium head blight of wheat on spikelet scale. Sensors, 19(10), 2281. https://doi.org/10.3390/s19102281

Maxwell, K., & Johnson, G. N. (2000). Chlorophyll fluorescence — a practical guide. Journal of Experimental Botany, 51(345), 659–668. https://doi.org/10.1093/jexbot/51.345.659

McKinney, H. H. (1923). Influence of soil temperature and moisture on infection of wheat seedlings by Helminthosporium sativum. Journal of Agricultural Research, 26, 195–218.

Mustafa, G., et al. (2023). Fusarium head blight monitoring in wheat ears using machine learning and multimodal data from asymptomatic to symptomatic periods. Frontiers in Plant Science, 13, 1102341. https://doi.org/10.3389/fpls.2022.1102341

Oerke, E.-C., Steiner, U., Dehne, H.-W., & Lindenthal, M. (2006). Thermal imaging of cucumber leaves affected by downy mildew and environmental conditions. Journal of Experimental Botany, 57(9), 2121–2132. https://doi.org/10.1093/jxb/erj170

Rousseau, C., et al. (2013). High throughput quantitative phenotyping of plant resistance using chlorophyll fluorescence image analysis. Plant Methods, 9, 17. https://doi.org/10.1186/1746-4811-9-17

Saharan, G. S., Verma, P. R., Meena, P. D., & Kumar, A. (2014). White Rust of Crucifers: Biology, Ecology and Management. Springer, New Delhi.

Terentev, A., et al. (2023). Hyperspectral remote sensing for early detection of wheat leaf rust caused by Puccinia triticina. Agriculture, 13(6), 1186. https://doi.org/10.3390/agriculture13061186

Thomas, S., Kuska, M. T., Bohnenkamp, D., et al. (2018). Benefits of hyperspectral imaging for plant disease detection and plant protection: a technical perspective. Journal of Plant Diseases and Protection, 125, 5–20. https://doi.org/10.1007/s41348-017-0124-6

Tian, L., et al. (2021). Spectroscopic detection of rice leaf blast infection from asymptomatic to mild stages with integrated machine learning and feature selection. Remote Sensing of Environment, 257, 112350. https://doi.org/10.1016/j.rse.2021.112350

Zarco-Tejada, P. J., et al. (2018). Previsual symptoms of Xylella fastidiosa infection revealed in spectral plant-trait alterations. Nature Plants, 4, 432–439. https://doi.org/10.1038/s41477-018-0189-7

Zhang, J.-C., Pu, R., Wang, J., Huang, W., Yuan, L., & Luo, J. (2012). Detecting powdery mildew of winter wheat using leaf level hyperspectral measurements. Computers and Electronics in Agriculture, 85, 13–23. https://doi.org/10.1016/j.compag.2012.03.006

Zhu, H., et al. (2017). Hyperspectral imaging for presymptomatic detection of tobacco disease with successive projections algorithm and machine-learning classifiers. Scientific Reports, 7, 4125. https://doi.org/10.1038/s41598-017-04501-2

Verify volume, page and DOI details of all references before submission; those not taken from the papers provided were compiled from memory.

# Appendix A. Randomised pot layout (one run)

RCBD: 5 benches (blocks) × 8 positions = 40 imaging pots. Each block contains 2 pots of each combination. Codes: S = susceptible, R = resistant genotype; M = mock, I = inoculated. Generated with a fixed random seed; re-randomise for run 2.

| Bench / block | Pos 1 | Pos 2 | Pos 3 | Pos 4 | Pos 5 | Pos 6 | Pos 7 | Pos 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Block 1 | P01 R-M | P02 S-I | P03 S-M | P04 S-M | P05 S-I | P06 R-I | P07 R-M | P08 R-I |
| Block 2 | P09 R-I | P10 S-M | P11 S-I | P12 R-I | P13 S-I | P14 S-M | P15 R-M | P16 R-M |
| Block 3 | P17 R-I | P18 R-I | P19 S-M | P20 S-I | P21 S-M | P22 R-M | P23 R-M | P24 S-I |
| Block 4 | P25 S-I | P26 R-I | P27 S-M | P28 R-I | P29 S-M | P30 R-M | P31 S-I | P32 R-M |
| Block 5 | P33 S-I | P34 S-M | P35 R-M | P36 S-I | P37 S-M | P38 R-I | P39 R-M | P40 R-I |

Destructive-sampling pots are placed in a separate, equally randomised block on the same bench system.

# Appendix D. Severity scale and disease index

| Grade | Class | Symptomatic leaf area (both surfaces) |
| --- | --- | --- |
| 0 | Healthy | 0 % |
| 1 | Very low | 1–5 % |
| 2 | Low | 6–10 % |
| 3 | Moderate | 11–25 % |
| 4 | High | 26–50 % |
| 5 | Very high | > 50 % |

Disease index: DI (%) = Σ (grade × number of leaves in that grade) / (total leaves scored × 5) × 100 (McKinney, 1923). The same classes are used in the field study; adjust if the plant pathology team uses a 0–9 scale [confirm].

# Appendix B. Daily data sheet

Run: ____   dpi: ____   Date: ____________   Operator: ____________   Page ___ of ___

| Pot | Geno. | Trt | Leaf | Side | Sympt. % | Grade 0–5 | Pustule? (Y/N) | SPAD | Dualex Chl | Fv/Fm | Image IDs (RGB / MS / HS / TIR) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

# Appendix C. Session metadata sheet (one per imaging day)

| Item | Value | Item | Value |
| --- | --- | --- | --- |
| Run / dpi / date |  | Operator(s) |  |
| Start / end time |  | Air T / RH at start |  |
| Air T / RH at end |  | Glasshouse light conditions |  |
| Thermal: equilibration time, emissivity |  | Thermal wet / dry references used (Y/N) |  |
| RGB: colour checker in every image (Y/N) |  | Camera settings (ISO, shutter, f-number) |  |
| MS: panel images start / end (Y/N) |  | MS: height (m) |  |
| HS: lamp warm-up (min) |  | HS: white / dark reference times |  |
| HS: integration time, binning |  | HS: distance (cm) |  |
| CF: dark adaptation (min) |  | CF: protocol name |  |
| Destructive samples taken (pot IDs) |  | Data backed up (2 copies) (Y/N) |  |
| Problems / deviations |  |  |  |